C3b - Muni New Equipment and Construction | Dishwasher - High Temp Under Counter | EC3b040 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Dishwasher - Low Temp Door Type | EC3b041 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Dishwasher - Low Temp Multi Tank Conveyor | EC3b042 | 0 | 0 | 0 | 20 | 20 | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Dishwasher - Low Temp Single Tank Conveyor | EC3b043 | 0 | 0 | 0 | 20 | 20 | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Dishwasher - Low Temp Under Counter | EC3b044 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Faucet Aerator, Electric | EC3b045 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Faucet Aerator, Gas | EC3b046 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Faucet Aerator, Oil | EC3b047 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Faucet Aerator, Propane | EC3b048 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Fryer Large Vat, Electric | EC3b049 | 0 | 0 | 0 | 12 | 12 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Fryer Standard Vat, Electric | EC3b050 | 0 | 0 | 0 | 12 | 12 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Furnace w/ ECM 85 AFUE up to 150 MBH, Oil | EC3b051 | 0 | 0 | 0 | 18 | 18 | 18 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Furnace w/ ECM 87 AFUE up to 150 MBH, Oil | EC3b052 | 0 | 0 | 0 | 18 | 18 | 18 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Furnace w/ ECM 95 AFUE up to 150 MBH, Propane | EC3b053 | 0 | 0 | 0 | 18 | 18 | 18 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Furnace w/ ECM 97 AFUE up to 150 MBH, Propane | EC3b054 | 0 | 0 | 0 | 18 | 18 | 18 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Griddle, Electric | EC3b055 | 0 | 0 | 0 | 12 | 12 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Ground Source Heat Pump | EC3b056 | 0 | 0 | 0 | 25 | 25 | 25 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Hot Food Holding Cabinet 3/4 Size | EC3b057 | 0 | 0 | 0 | 12 | 12 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Hot Food Holding Cabinet Full Size | EC3b058 | 0 | 0 | 0 | 12 | 12 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Hot Food Holding Cabinet Half Size | EC3b059 | 0 | 0 | 0 | 12 | 12 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Ice Machine - Ice Making Head | EC3b060 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Ice Machine - Remote Cond./Split Unit - Batch | EC3b061 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Ice Machine - Remote Cond./Split Unit - Continuous | EC3b062 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Ice Machine - Self Contained | EC3b063 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Infrared Heater | EC3b064 | 0 | 0 | 0 | 17 | 17 | 17 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Low Pressure Drop Filter | EC3b065 | 0 | 0 | 0 | 5 | 5 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Thermostatic Shut-Off Valve, Electric | EC3b066 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Thermostatic Shut-Off Valve, Gas | EC3b067 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Thermostatic Shut-Off Valve, Oil | EC3b068 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Thermostatic Shut-Off Valve, Propane | EC3b069 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Low-Flow Showerhead, Electric | EC3b070 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Low-Flow Showerhead, Gas | EC3b071 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Low-Flow Showerhead, Oil | EC3b072 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Low-Flow Showerhead, Propane | EC3b073 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Pre Rinse Spray Valve, Electric | EC3b074 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Pre Rinse Spray Valve, Gas | EC3b075 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Pre Rinse Spray Valve, Oil | EC3b076 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Pre Rinse Spray Valve, Propane | EC3b077 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Refrigerated Air Dryer | EC3b078 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Steam Cooker, Electric | EC3b079 | 0 | 0 | 0 | 12 | 12 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Unitary Air Conditioner | EC3b080 | 0 | 0 | 0 | 12 | 12 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Water Source Heat Pump | EC3b081 | 0 | 0 | 0 | 25 | 25 | 25 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Zero Loss Condensate Drain | EC3b082 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | High Efficiency Chiller - FL | EC3b083 | 0 | 0 | 0 | 23 | 23 | 23 | 1 | 1 | 1 | 1 | 1 | 1 | 1.196 | 1.196 | 1.196 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | High Efficiency Chiller - IPLV | EC3b084 | 0 | 0 | 0 | 23 | 23 | 23 | 1 | 1 | 1 | 1 | 1 | 1 | 1.196 | 1.196 | 1.196 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | CI Audits - Muni New | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Induction Cooktop Displacing Electric Resistance | EC3b088 | 0 | 0 | 0 | 12 | 12 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | Compressed Air Leak Detection | EC3b089 | 0 | 0 | 0 | 5 | 5 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3b - Muni New Equipment and Construction | 0 | 0 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; In Service Rate 2021: 0; kWh Realization Rate 2021: 0; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3b - Muni New Equipment and Construction | 0 | 0 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; In Service Rate 2021: 0; kWh Realization Rate 2021: 0; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
|  |  | 0 | 0 | 0 | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Custom Muni Compressed Air Direct Install | EC3d001 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 1; Net to Gross 2022: 1; Net to Gross 2023: 1; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 0.9; kWh Realization Rate 2022: 0.9; kWh Realization Rate 2023: 0.9; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Custom Muni Hot Water Direct Install | EC3d002 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 1; Net to Gross 2022: 1; Net to Gross 2023: 1; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 0.9; kWh Realization Rate 2022: 0.9; kWh Realization Rate 2023: 0.9; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Custom Muni HVAC Direct Install | EC3d003 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 1; Net to Gross 2022: 1; Net to Gross 2023: 1; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 0.9; kWh Realization Rate 2022: 0.9; kWh Realization Rate 2023: 0.9; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Custom Muni Lighting Direct Install - Interior | EC3d004 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 0.94; Net to Gross 2022: 0.94; Net to Gross 2023: 0.94; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 1.066; kWh Realization Rate 2022: 1.066; kWh Realization Rate 2023: 1.066; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Custom Muni Lighting Direct Install - Exterior | EC3d005 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 0.94; Net to Gross 2022: 0.94; Net to Gross 2023: 0.94; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 1.027; kWh Realization Rate 2022: 1.027; kWh Realization Rate 2023: 1.027; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Custom Muni Lighting Direct Install - Controls | EC3d006 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 0.94; Net to Gross 2022: 0.94; Net to Gross 2023: 0.94; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 1; kWh Realization Rate 2022: 1; kWh Realization Rate 2023: 1; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Custom Muni Motors Direct Install | EC3d007 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 1; Net to Gross 2022: 1; Net to Gross 2023: 1; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 0.9; kWh Realization Rate 2022: 0.9; kWh Realization Rate 2023: 0.9; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Custom Muni Process Direct Install | EC3d008 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 1; Net to Gross 2022: 1; Net to Gross 2023: 1; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 0.9; kWh Realization Rate 2022: 0.9; kWh Realization Rate 2023: 0.9; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Custom Muni Refrigeration Direct Install | EC3d009 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 1; Net to Gross 2022: 1; Net to Gross 2023: 1; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 0.9; kWh Realization Rate 2022: 0.9; kWh Realization Rate 2023: 0.9; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Custom Muni Other Direct Install | EC3d010 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 1; Net to Gross 2022: 1; Net to Gross 2023: 1; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 0.9; kWh Realization Rate 2022: 0.9; kWh Realization Rate 2023: 0.9; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Daylight Dimming | EC3d011 | 0 | 0 | 0 | 9 | 9 | 9 | 0.94 | 0.94 | 0.94 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Lighting Fixture - Exterior w/ Controls | EC3d012 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 0.94; Net to Gross 2022: 0.94; Net to Gross 2023: 0.94; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 1.027; kWh Realization Rate 2022: 1.027; kWh Realization Rate 2023: 1.027; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Lighting Fixture - Exterior w/o Controls | EC3d013 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 0.94; Net to Gross 2022: 0.94; Net to Gross 2023: 0.94; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 1.027; kWh Realization Rate 2022: 1.027; kWh Realization Rate 2023: 1.027; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Lighting Fixture - Interior w/ Controls | EC3d014 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 0.94; Net to Gross 2022: 0.94; Net to Gross 2023: 0.94; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 1.066; kWh Realization Rate 2022: 1.066; kWh Realization Rate 2023: 1.066; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Lighting Fixture - Interior w/o Controls | EC3d015 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 0.94; Net to Gross 2022: 0.94; Net to Gross 2023: 0.94; In Service Rate 2021: 1; In Service Rate 2022: 1; In Service Rate 2023: 1; kWh Realization Rate 2021: 1.066; kWh Realization Rate 2022: 1.066; kWh Realization Rate 2023: 1.066; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Lighting Occupancy Sensors | EC3d016 | 0 | 0 | 0 | 9 | 9 | 9 | 0.94 | 0.94 | 0.94 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Air Sealing, Electric | EC3d017 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Air Sealing, Gas | EC3d018 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Air Sealing, Oil | EC3d019 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Air Sealing, Propane | EC3d020 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Boiler Reset Controls, Gas | EC3d021 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Boiler Reset Controls, Oil | EC3d022 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Boiler Reset Controls, Propane | EC3d023 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Case Motor Replacement | EC3d024 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Cooler Night Cover | EC3d025 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Demand Control Ventilation | EC3d026 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Door Heater Controls | EC3d027 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Dual Enthalpy Economizer Controls (DEEC) | EC3d028 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Duct Insulation, Electric | EC3d029 | 0 | 0 | 0 | 20 | 20 | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Duct Insulation, Gas | EC3d030 | 0 | 0 | 0 | 20 | 20 | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Duct Insulation, Oil | EC3d031 | 0 | 0 | 0 | 20 | 20 | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Duct Insulation, Propane | EC3d032 | 0 | 0 | 0 | 20 | 20 | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Duct Sealing, Electric | EC3d033 | 0 | 0 | 0 | 20 | 20 | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Duct Sealing, Gas | EC3d034 | 0 | 0 | 0 | 20 | 20 | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Duct Sealing, Oil | EC3d035 | 0 | 0 | 0 | 20 | 20 | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Duct Sealing, Propane | EC3d036 | 0 | 0 | 0 | 20 | 20 | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Ductless Mini Split Heat Pump | EC3d037 | 0 | 0 | 0 | 12 | 12 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | ECM Evaporator Fan Motors for Walk-in Cooler/Freezer | EC3d038 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Electronic Defrost Control | EC3d039 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Energy Management System, Electric | EC3d040 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Energy Star Wifi Thermostat, Electric | EC3d041 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Energy Star Wifi Thermostat, Gas | EC3d042 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Energy Star Wifi Thermostat, Oil | EC3d043 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Energy Star Wifi Thermostat, Propane | EC3d044 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Evaporator Fan Control | EC3d045 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Faucet Aerator, Electric | EC3d046 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Faucet Aerator, Gas | EC3d047 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Faucet Aerator, Oil | EC3d048 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Faucet Aerator, Propane | EC3d049 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Hotel Occupancy Sensor | EC3d050 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Insulation, Electric | EC3d051 | 0 | 0 | 0 | 25 | 25 | 25 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Insulation, Gas | EC3d052 | 0 | 0 | 0 | 25 | 25 | 25 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Insulation, Oil | EC3d053 | 0 | 0 | 0 | 25 | 25 | 25 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Insulation, Propane | EC3d054 | 0 | 0 | 0 | 25 | 25 | 25 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Low Pressure Drop Filter | EC3d055 | 0 | 0 | 0 | 5 | 5 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Thermostatic Shut-Off Valve, Electric | EC3d056 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Thermostatic Shut-Off Valve, Gas | EC3d057 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Thermostatic Shut-Off Valve, Oil | EC3d058 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Thermostatic Shut-Off Valve, Propane | EC3d059 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Low-Flow Showerhead, Electric | EC3d060 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Low-Flow Showerhead, Gas | EC3d061 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Low-Flow Showerhead, Oil | EC3d062 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Low-Flow Showerhead, Propane | EC3d063 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Motors, Open Drip | EC3d064 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Motors, Totally Enclosed Fan Cooled | EC3d065 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Novelty Cooler Shutoff | EC3d066 | 0 | 0 | 0 | 10 | 10 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pipe Wrap - Heating, Electric | EC3d067 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pipe Wrap - Heating, Gas | EC3d068 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pipe Wrap - Heating, Oil | EC3d069 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pipe Wrap - Heating, Propane | EC3d070 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pipe Wrap - Hot Water, Electric | EC3d071 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pipe Wrap - Hot Water, Gas | EC3d072 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pipe Wrap - Hot Water, Oil | EC3d073 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pipe Wrap - Hot Water, Propane | EC3d074 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pre Rinse Spray Valve, Electric | EC3d075 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pre Rinse Spray Valve, Gas | EC3d076 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pre Rinse Spray Valve, Oil | EC3d077 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Pre Rinse Spray Valve, Propane | EC3d078 | 0 | 0 | 0 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Programmable Thermostat, Electric | EC3d079 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Programmable Thermostat, Gas | EC3d080 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Programmable Thermostat, Oil | EC3d081 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Programmable Thermostat, Propane | EC3d082 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Steam Trap, Electric | EC3d083 | 0 | 0 | 0 | 6 | 6 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Steam Trap, Gas | EC3d084 | 0 | 0 | 0 | 6 | 6 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Steam Trap, Oil | EC3d085 | 0 | 0 | 0 | 6 | 6 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Steam Trap, Propane | EC3d086 | 0 | 0 | 0 | 6 | 6 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Variable Frequency Drive | EC3d087 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 0.946 | 0.946 | 0.946 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Variable Frequency Drive with Motor | EC3d088 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 0.946 | 0.946 | 0.946 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Vending Miser | EC3d089 | 0 | 0 | 0 | 5 | 5 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | Zero Loss Condensate Drain | EC3d090 | 0 | 0 | 0 | 15 | 15 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | CI Audits - Muni Direct Install | 0 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 1; Net to Gross 2022: 1; Net to Gross 2023: 1; In Service Rate 2021: 0; In Service Rate 2022: 0; In Service Rate 2023: 0; kWh Realization Rate 2021: 0; kWh Realization Rate 2022: 0; kWh Realization Rate 2023: 0; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Vendor Fees | 0 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; Net to Gross 2021: 1; Net to Gross 2022: 1; Net to Gross 2023: 1; In Service Rate 2021: 0; In Service Rate 2022: 0; In Service Rate 2023: 0; kWh Realization Rate 2021: 0; kWh Realization Rate 2022: 0; kWh Realization Rate 2023: 0; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | Induction Cooktop Displacing Electric Resistance | EC3d091 | 0 | 0 | 0 | 12 | 12 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0
C3d - Muni Direct Install | 0 | 0 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; In Service Rate 2021: 0; kWh Realization Rate 2021: 0; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | 0 | 0 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; In Service Rate 2021: 0; kWh Realization Rate 2021: 0; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | 0 | 0 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; In Service Rate 2021: 0; kWh Realization Rate 2021: 0; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | 0 | 0 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; In Service Rate 2021: 0; kWh Realization Rate 2021: 0; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
C3d - Muni Direct Install | 0 | 0 | Quantity 2024: 0; Quantity 2025: 0; Quantity 2026: 0; Measure Life 2021: 0; In Service Rate 2021: 0; kWh Realization Rate 2021: 0; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
|  | Municipal Energy Solutions Subtotal | Net Annual MWh Savings 2024: 212.7797; Net Annual MWh Savings 2025: 145.2964; Net Annual MWh Savings 2026: 145.2964; Net Lifetime MWh Savings 2024: 1864.0693; Net Lifetime MWh Savings 2025: 1272.8771; Net Lifetime MWh Savings 2026: 1272.8771; Annual Net Winter kW 2024: 16.1389; Annual Net Winter kW 2025: 11.0205; Annual Net Winter kW 2026: 11.0205; Annual Net Summer kW 2024: 21.5216; Annual Net Summer kW 2025: 14.696; Natural Gas Savings 2026: 14.696; Total Net Annual MMBTU 2024: -129.986; Total Net Annual MMBTU 2025: -88.7607; Total Net Annual MMBTU 2026: -88.7607; Total Net Lifetime MMBTU 2024: -1148.604; Total Net Lifetime MMBTU 2025: -784.3226; Total Net Lifetime MMBTU 2026: -784.3226
Energy Rewards RFP |  |  | Quantity 2024: Quantity; Measure Life 2021: Measure Life; Net to Gross 2021: Net to Gross; In Service Rate 2021: In Service Rate; kWh Realization Rate 2021: kWh Realization Rate; Net Annual MWh Savings 2024: Net Annual MWh Savings; Net Lifetime MWh Savings 2024: Net Lifetime MWh Savings; Annual Net Winter kW 2024: Annual Net Winter kW; Annual Net Summer kW 2024: Annual Net Summer kW; Natural Gas Savings 2026: Natural Gas Savings; Total Net Annual MMBTU 2024: Total Net Annual MMBTU; Total Net Lifetime MMBTU 2024: Total Net Lifetime MMBTU
Subprogram | Measure | Measure ID | 2021 | 2022 | 2023 | 2021 | 2022 | 2023 | 2021 | 2022 | 2023 | 2021 | 2022 | 2023 | 2021 | 2022 | 2023 | 2021 | 2022 | 2023 | 2021 | 2022 | 2023 | 2021 | 2022 | 2023 | 2021 | 2022 | 2023 | 2021 | 2022 | 2023 | 2021 | 2022 | 2023
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | Energy Rewards RFP Subtotal | Net Annual MWh Savings 2024: 0; Net Annual MWh Savings 2025: 0; Net Annual MWh Savings 2026: 0; Net Lifetime MWh Savings 2024: 0; Net Lifetime MWh Savings 2025: 0; Net Lifetime MWh Savings 2026: 0; Annual Net Winter kW 2024: 0; Annual Net Winter kW 2025: 0; Annual Net Winter kW 2026: 0; Annual Net Summer kW 2024: 0; Annual Net Summer kW 2025: 0; Natural Gas Savings 2026: 0; Total Net Annual MMBTU 2024: 0; Total Net Annual MMBTU 2025: 0; Total Net Annual MMBTU 2026: 0; Total Net Lifetime MMBTU 2024: 0; Total Net Lifetime MMBTU 2025: 0; Total Net Lifetime MMBTU 2026: 0
[31 empty] | 0 |  |  |  | 0
|  |  | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | #REF! | 0 | 0 | #REF! | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0

## 1. Att E4 Program Trend (hidden)
New Hampshire Electric Cooperative Inc
NHPUC Docket No. DE 24-XXX
Attachment E4 (2024-2026)
Page X of X
Home Energy Assistance
Planned |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Total Budget (plan)
1) | Total Annual Electric Savings (kWh) (plan)
| $/Annual kWh Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (plan)
| $/kW saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (plan)
| $/Total Fuel Neutral MMBtu Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actuals |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Total Spending (actual)
1) | Total Annual Electric Savings (kWh) (actual)
| $/Annual kWh Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (actual)
| $/kW saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (actual)
| $/Total Fuel Neutral MMBtu Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Hampshire Electric Cooperative Inc
NHPUC Docket No. DE 20-092
Compliance Filing – Attachment E4 (2022-2023)
Page 2 of 9
Home Performance w/Energy Star
Planned |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Total Budget (plan)
1) | Total Annual Electric Savings (kWh) (plan)
| $/Annual kWh Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (plan)
| $/kW saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (plan)
| $/Total Fuel Neutral MMBtu Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actuals |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Total Spending (actual)
1) | Total Annual Electric Savings (kWh) (actual)
| $/Annual kWh Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (actual)
| $/kW saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (actual)
| $/Total Fuel Neutral MMBtu Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Hampshire Electric Cooperative Inc
NHPUC Docket No. DE 20-092
Compliance Filing – Attachment E4 (2022-2023)
Page 3 of 9
Energy Star Homes
Planned |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Total Budget (plan)
1) | Total Annual Electric Savings (kWh) (plan)
| $/Annual kWh Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (plan)
| $/kW saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (plan)
| $/Total Fuel Neutral MMBtu Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actuals |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Total Spending (actual)
1) | Total Annual Electric Savings (kWh) (actual)
| $/Annual kWh Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (actual)
| $/kW saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (actual)
| $/Total Fuel Neutral MMBtu Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Hampshire Electric Cooperative Inc
NHPUC Docket No. DE 20-092
Compliance Filing – Attachment E4 (2022-2023)
Page 4 of 9
Energy Star Products
Planned |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Total Budget (plan)
1) | Total Annual Electric Savings (kWh) (plan)
| $/Annual kWh Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (plan)
| $/kW saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (plan)
| $/Total Fuel Neutral MMBtu Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actuals |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Total Spending (actual)
1) | Total Annual Electric Savings (kWh) (actual)
| $/Annual kWh Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (actual)
| $/kW saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (actual)
| $/Total Fuel Neutral MMBtu Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Hampshire Electric Cooperative Inc
NHPUC Docket No. DE 20-092
Compliance Filing – Attachment E4 (2022-2023)
Page 5 of 9
Home Energy Reports
Planned |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Total Budget (plan)
1) | Total Annual Electric Savings (kWh) (plan)
| $/Annual kWh Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (plan)
| $/kW saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (plan)
| $/Total Fuel Neutral MMBtu Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actuals |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Total Spending (actual)
1) | Total Annual Electric Savings (kWh) (actual)
| $/Annual kWh Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (actual)
| $/kW saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (actual)
| $/Total Fuel Neutral MMBtu Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Hampshire Electric Cooperative Inc
NHPUC Docket No. DE 20-092
Compliance Filing – Attachment E4 (2022-2023)
Page 6 of 9
Large Business Energy Solutions
Planned |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Total Budget (plan)
1) | Total Annual Electric Savings (kWh) (plan)
| $/Annual kWh Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (plan)
| $/kW saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (plan)
| $/Total Fuel Neutral MMBtu Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actuals |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Total Spending (actual)
1) | Total Annual Electric Savings (kWh) (actual)
| $/Annual kWh Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (actual)
| $/kW saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (actual)
| $/Total Fuel Neutral MMBtu Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Hampshire Electric Cooperative Inc
NHPUC Docket No. DE 20-092
Compliance Filing – Attachment E4 (2022-2023)
Page 7 of 9
Small Business Energy Solutions
Planned |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Total Budget (plan)
1) | Total Annual Electric Savings (kWh) (plan)
| $/Annual kWh Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (plan)
| $/kW saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (plan)
| $/Total Fuel Neutral MMBtu Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actuals |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Total Spending (actual)
1) | Total Annual Electric Savings (kWh) (actual)
| $/Annual kWh Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (actual)
| $/kW saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (actual)
| $/Total Fuel Neutral MMBtu Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Hampshire Electric Cooperative Inc
NHPUC Docket No. DE 20-092
Compliance Filing – Attachment E4 (2022-2023)
Page 8 of 9
Municipal
Planned |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Total Budget (plan)
1) | Total Annual Electric Savings (kWh) (plan)
| $/Annual kWh Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (plan)
| $/kW saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (plan)
| $/Total Fuel Neutral MMBtu Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actuals |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Total Spending (actual)
1) | Total Annual Electric Savings (kWh) (actual)
| $/Annual kWh Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (actual)
| $/kW saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (actual)
| $/Total Fuel Neutral MMBtu Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Hampshire Electric Cooperative Inc
NHPUC Docket No. DE 20-092
Compliance Filing – Attachment E4 (2022-2023)
Page 9 of 9
C&I RFP Energy Rewards Program
Planned |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Total Budget (plan)
1) | Total Annual Electric Savings (kWh) (plan)
| $/Annual kWh Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (plan)
| $/kW saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (plan)
| $/Total Fuel Neutral MMBtu Saved (plan) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actuals |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Total Spending (actual)
1) | Total Annual Electric Savings (kWh) (actual)
| $/Annual kWh Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) | Total kW saved (actual)
| $/kW saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) | Total Fuel Neutral MMBtu Saved (actual)
| $/Total Fuel Neutral MMBtu Saved (actual) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0